## Foglio1
Room | Input/Output | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9
Bedroom 1 | Ceiling light | bar: M2 to M9
Bedside lights | bar: M7 to M8
Door contact | bar: M2 to M9
| Window contact | M3: 2
| Shutter motor | M5: 4; M8: 4
Thermostatic valve | bar: M4
Bedroom 2 | Ceiling light | bar: M2 to M9
Bedside lights | bar: M7 to M8
Door contact | bar: M2 to M9
Window contact | bar: M3
| Shutter motor | M5: 2; M8: 2
Thermostatic valve | bar: M4
Kitchen | Ceiling light | bar: M2 to M9
Worktop lights | bar: M7 to M8
Door contact | bar: M2 to M9
Window contact | bar: M3
| Shutter motor | M5: 2; M8: 2
Thermostatic valve | bar: M4
Gas sensor | bar: M2 to M9
Smoke | bar: M3
Gas solenoid valve | bar: M2 to M9
Hood relay | bar: M7 to M8
Living Room | Ceiling light | bar: M2 to M9
Ambient lights | bar: M7 to M8
| Door contact | M3: 2
| Window contact | M3: 2
| Shutter motor | M5: 4; M8: 4
Thermostatic valve | bar: M4
Dining Room | Ceiling light | bar: M2 to M9
Ambient lights | bar: M7 to M8
Door contact | bar: M2 to M9
| Window contact | M3: 2
| Shutter motor | M5: 4; M8: 4
Thermostatic valve | bar: M4
Bathroom 1 | Ceiling light | bar: M2 to M9
Mirror light | bar: M7 to M8
Door contact | bar: M2 to M9
Window contact | bar: M3
| Shutter motor | M5: 2; M8: 2
Extraction fan | bar: M7 to M8
Bathroom 2 | Ceiling light | bar: M2 to M9
Mirror light | bar: M7 to M8
Door contact | bar: M2 to M9
Window contact | bar: M3
| Shutter motor | M5: 2; M8: 2
Storage 1 | Ceiling light | bar: M7 to M8
Door contact | bar: M2 to M9
Window contact | bar: M3
| Shutter motor | M5: 2; M8: 2
Storage 2 | Ceiling light | bar: M7 to M8
Door contact | bar: M2 to M9
Internal Total |  |  | 23 | 5 | 22 | 0 | 20 | 41 | 0
Area | Input/Output | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9
Garage | Internal light | bar: M2 to M9
External light | bar: M7 to M8
Door contact | bar: M2 to M9
| Garage door motor | M5: 2; M8: 2
Garden | Garden lights | bar: M2 to M9
Rain sensor | bar: M3
| Irrigation valve | M9: 8
Driveway | Driveway lights | bar: M7 to M8
Pedestrian Gate | Push button | bar: M2 to M9
Gate contact | bar: M4
Vehicle Gate | Push button | bar: M2 to M9
| Open keys | M8: 2
| Photocells | M8: 2
| Limit switches | M8: 2
| Gate motor | M4: 2
External Total |  |  | 3 | 3 | 2 | 0 | 4 | 13 | 8
Area | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9
Internal Total |  | 0 | 23 | 5 | 22 | 0 | 20 | 41 | 0 | DOMIX – I²C Bus Configuration & Validation Sheet (M2–M9)
External Total |  | 0 | 3 | 3 | 2 | 0 | 4 | 13 | 8
Home Total |  | 0 | 26 | 8 | 24 | 0 | 24 | 54 | 8 | Module | Quantity | I²C Range Used | ADS1115
Module capacity |  | 8+8 | 16 | 6 | 12 | 10 | 16 | 16 | 8 | M2 | 0 | 0x20–0x27 | No
Module Number | 1 | 0 | 2 | 2 | 2 | 1 | 2 | 4 | 1 | M5 | 2 | 0x20–0x27 | No
DIN spaces | 4 | 0 | 4 | 4 | 8 | 4 | 4 | 8 | 4 | M7 | 2 | 0x20–0x27 | No
M2 + M5 + M7 + M8 + M9 ≤ 8 | M2: 9; M3: ≤ 8; M4: Ok but limit | M8 | 4 | 0x20–0x27 | No
M3 + M4 + M6 + M9 ≤ 8 | M2: 6; M3: ≤ 8; M4: Verified | M9 | 0 | 0x20–0x27 + 0x38–0x3F | No
M3 + M6 ≤ 4 (ADS1115 limit) | M2: 3; M3: ≤ 4; M4: Verified | M3 | 2 | 0x38–0x3F | Yes
[10 empty] | M4 | 2 | 0x38–0x3F | No
Area | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M6 | 1 | 0x38–0x3F | Yes
Internal Total |  | 0 | 23 | 5 | 22 | 0 | 20 | 41 | 0
Module capacity |  | 8 | 16 | 6 | 12 | 10 | 16 | 16 | 8 | Automatic Bus Validation
Module Number | 1 | 0 | 2 | 1 | 2 | 0 | 2 | 3 | 0 | Check | Used Slots | Max | Status
DIN spaces | 4 | 0 | 4 | 2 | 8 | 0 | 4 | 6 | 0 | 0x20–0x27 (M2 + M5 + M7 + M8 + M9) | 8 | 8
M2 + M5 + M7 + M8 + M9 ≤ 8 | M2: 7; M3: ≤ 8; M4: Verified | 0x38–0x3F (M3 + M4 + M6 + M9) | 5 | 8
M3 + M4 + M6 + M9 ≤ 8 | M2: 3; M3: ≤ 8; M4: Verified | ADS1115 (M3 + M6) | 3 | 4
M3 + M6 ≤ 4 (ADS1115 limit) | M2: 2; M3: ≤ 4; M4: Verified
Area | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | Rules: • M2 + M5 + M7 + M8 + M9 ≤ 8 • M3 + M4 + M6 + M9 ≤ 8 • M3 + M6 ≤ 4 (ADS1115 limit) Note: M9 is a hybrid module consuming one address in both I²C ranges.
External Total |  | 0 | 3 | 5 | 0 | 0 | 4 | 13 | 8
Module capacity |  | 8 | 16 | 6 | 12 | 10 | 16 | 16 | 8
Module Number | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1
DIN spaces | 4 | 0 | 2 | 2 | 0 | 0 | 2 | 2 | 4
M2 + M5 + M7 + M8 + M9 ≤ 8 | 2 M2: 3; ≤ 4 M3: ≤ 8; Verified M4: Verified
M3 + M4 + M6 + M9 ≤ 8 | 2 M2: 3; ≤ 4 M3: ≤ 8; Verified M4: Verified
M3 + M6 ≤ 4 (ADS1115 limit) | 2 M2: 1; ≤ 4 M3: ≤ 4; Verified M4: Verified